{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":26,"n_cols":5,"rows_kept":26,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","WLDW"]
[]
[]
[]
[]
["","","","","WLDW."]
["Максимальное количество подсоединяемых внутренних блоков","","","","0"]
["Максимальное количество подсоединяемых наружных блоков","","","","0"]
["Корпус","Цвет","","","Белый"]
["","Крышка кнопки","","","Нет"]
["","СИД работы","Цвет","","Зеленый"]
["Размеры","Блок","Размеры-=-Блок-=-Высота-=-мм","мм","76"]
["","","Ширина","мм","50.0"]
["","","Глубина","мм","31.0"]
["","Упакованный блок","Высота","мм","320"]
["","","Ширина","мм","260"]
["","","Глубина","мм","190"]
["Масса","Блок","","кг","0.039"]
["Упаковка","Материал","","","Тонкий картон"]
["","Вес","","кг","0.021"]
["Температура окружающей среды","Работа","Мин.","°C","0"]
["","","Макс.","°C","50"]
["","Хранение","Мин.","°C","-20"]
["","","Макс.","°C","60"]
["","Температура окружающей среды-=-Относительная влажность <-=-%","","%","85"]
["Установка","","","","Внутренняя установка"]